## New (2)
Inboden Environmental Services, Inc. | [12 empty] | LAB SAMPLE #: DW
5790 Main Street Phone: (540) 477-3300
Mt. Jackson, VA 22842 Fax: (540) 477-3360
CHAIN OF CUSTODY & SAMPLE INFORMATION SHEET
Client: |  | Elizabeth Furnace |  | Camp | PWSID: | 2171318 |  | Contact Person: | Submit Report to:
Address: | [7 empty] | Submit Report to: | Bill to:
City: |  |  |  | State: | VA | Zip: |  | Submit Bill to: | Tax Map # :
Phone: |  |  |  | FAX: |  |  |  | P.O. #: | Permit #: |  |  | Purchase Order No.:
SAMPLE INFORMATION
Sample Address (if different from above):
LOCATION |  |  |  | PWS | SAMPLE | SAMPLER | SAMPLE |  | SAMPLE | *SAMPLE | CHLORINE | CIRCLE ANALYSIS REQUESTED
Example-Lot #,faucet,sink,house # |  |  |  | FACILITY ID | POINT ID | INITIALS | DATE |  | TIME | TYPE | RESIDUAL
P/A MPN
* PR - Private; RT - Routine; RP - Repeat; SP - Special; ST - Split QA/QC; TG - Triggered; CO - Confirmation
SAMPLE RELINQUISHED BY |  |  |  | DATE | TIME | SAMPLE RECEIVED BY |  |  |  | DATE | TIME | MEANS OF DELIVERY
COMMENTS: | [8 empty] | CLIENT NOTIFIED ON:________________ ________
[11 empty] | Date & Time |  | Initials
FOR LABORATORY USE ONLY: |  |  |  |  | ANALYSIS: ( ) COLILERT-18 ( ) CL-18 MPN | [6 empty] | ( ) UNSAT ________
INIT._______ ANALYSIS START DATE:_________________ TIME_________AM / PM
RESULTS: |  |  | ( ) ABSENT |  |  |  | ( ) WITHOUT E.C. |  |  |  |  | MPN : _______________
[6 empty] | ( ) POSITIVE | [6 empty] | T.C / E.C
[7 empty] | ( ) WITH E.C. |  |  |  |  | UNSAT:______________
COMPLETION DATE:___________________ INIT._________ | [8 empty] | TIME:_________AM / PM
PLEASE READ BEFORE TAKING SAMPLE
INSTRUCTIONS FOR COLLECTION OF DRINKING WATER SAMPLES FOR DETECTION OF BACTERIA
(USE FOR DRINKING WATER SAMPLES ONLY)
Sample bottles supplied by Inboden Environmental Services for bacteria testing of water are sterile. Do not contaminate or touch inside of cap or bottle. Bottle contains thiosulfate tablet to neutralize residual chlorine. Do not throw out tablet or rinse bottle.
1. | Remove the aerator screen from faucet if present. Sanitize non-plastic faucet with flame or wipe faucet with bleach-soaked paper towel.
2. | Flush with cold water for 3 to 5 minutes, or sufficient time to clear the line. Adjust water flow to avoid splashing.
3. | Perform residual chlorine test if required (for public drinking water systems).
4. | Keep bottle closed until ready to sample. When ready, remove and discard shrink-wrapped seal. Carefully remove cap. Fill bottle to at least the 100 ml. fill line etched on side of bottle. Leave sufficient air space at the top to facilitate testing at lab.
5. | Carefully place cap on bottle and check for leaks. | [7 empty] | Type | Description
[9 empty] | RT-Routine | TCR-Regularly scheduled sample on the DS
6. | Fill out “Chain of Custody / Sample Information Sheet” on reverse side in ink. | [7 empty] | RP-Repeat | TCR-DS sample following a positive routine sample or a
triggered source sample substituted as fourth repeat
7. | Fill out bottle label if present. | [7 empty] | TG-Trigger | GWR-Ground water raw sample following positive RT sample
[9 empty] | CO-Confirm | GWR-Ground water raw sample following an E. Coli positive
8. | Attach form to bottle with rubber band. Do not tape. | [8 empty] | triggered sample on a source
[9 empty] | SP-Special | All others that are not for compliance (construction)
9. | Deliver sample to laboratory as soon as possible. Keep the water sample cool by putting on ice; refrigerate if delivery is not within several hours.
NOTE: Maximum sample holding time between time of sampling and time of analysis is 30 hours.
Samples may be received between 8 a.m. and 5:00 p.m., Monday through Friday and within 24 hours of collection.

## New
Inboden Environmental Services, Inc. | [11 empty] | LAB SAMPLE #: DW
5790 Main Street Phone: (540) 477-3300
Mt. Jackson, VA 22842 Fax: (540) 477-3360
CHAIN OF CUSTODY & SAMPLE INFORMATION SHEET
Client: |  |  |  | PWSID: |  |  | Contact Person: | Submit Report to:
Address: | [6 empty] | Submit Report to: | Bill to:
City: |  |  | State: | VA | Zip: |  | Submit Bill to: | Tax Map # :
Phone: |  |  | Email: |  |  |  | P.O. #: | Permit #: |  |  | Purchase Order No.:
SAMPLE INFORMATION
Sample Address (if different from above):
LOCATION |  |  | PWS | SAMPLE | SAMPLER | SAMPLE |  | SAMPLE | *SAMPLE | CHLORINE | CIRCLE ANALYSIS REQUESTED
Example-Lot #,faucet,sink,house # |  |  | FACILITY ID | POINT ID | INITIALS | DATE |  | TIME | TYPE | RESIDUAL
P/A MPN
* PR - Private; RT - Routine; RP - Repeat; SP - Special; ST - Split QA/QC; TG - Triggered; CO - Confirmation
SAMPLE RELINQUISHED BY |  |  | DATE | TIME | SAMPLE RECEIVED BY |  |  |  | DATE | TIME | MEANS OF DELIVERY
COMMENTS: | [7 empty] | CLIENT NOTIFIED ON:________________ ________
[10 empty] | Date & Time |  | Initials
FOR LABORATORY USE ONLY: |  |  |  | ANALYSIS: ( ) COLILERT-18 ( ) CL-18 MPN | [6 empty] | ( ) UNSAT ________
INIT._______ ANALYSIS START DATE:_________________ TIME_________AM / PM
RESULTS: |  | ( ) ABSENT |  |  |  | ( ) WITHOUT E.C. |  |  |  |  | MPN : _______________
[5 empty] | ( ) POSITIVE | [6 empty] | T.C / E.C
[6 empty] | ( ) WITH E.C. |  |  |  |  | UNSAT:______________
COMPLETION DATE:___________________ INIT._________ | [7 empty] | TIME:_________AM / PM
PLEASE READ BEFORE TAKING SAMPLE
INSTRUCTIONS FOR COLLECTION OF DRINKING WATER SAMPLES FOR DETECTION OF BACTERIA
(USE FOR DRINKING WATER SAMPLES ONLY)
Sample bottles supplied by Inboden Environmental Services for bacteria testing of water are sterile. Do not contaminate or touch inside of cap or bottle. Bottle contains thiosulfate tablet to neutralize residual chlorine. Do not throw out tablet or rinse bottle.
1. | Remove the aerator screen from faucet if present. Sanitize non-plastic faucet with flame or wipe faucet with bleach-soaked paper towel.
2. | Flush with cold water for 3 to 5 minutes, or sufficient time to clear the line. Adjust water flow to avoid splashing.
3. | Perform residual chlorine test if required (for public drinking water systems).
4. | Keep bottle closed until ready to sample. When ready, remove and discard shrink-wrapped seal. Carefully remove cap. Fill bottle to at least the 100 ml. fill line etched on side of bottle. Leave sufficient air space at the top to facilitate testing at lab.
5. | Carefully place cap on bottle and check for leaks. | [6 empty] | Type | Description
[8 empty] | RT-Routine | TCR-Regularly scheduled sample on the DS
6. | Fill out “Chain of Custody / Sample Information Sheet” on reverse side in ink. | [6 empty] | RP-Repeat | TCR-DS sample following a positive routine sample or a
triggered source sample substituted as fourth repeat
7. | Fill out bottle label if present. | [6 empty] | TG-Trigger | GWR-Ground water raw sample following positive RT sample
[8 empty] | CO-Confirm | GWR-Ground water raw sample following an E. Coli positive
8. | Attach form to bottle with rubber band. Do not tape. | [7 empty] | triggered sample on a source
[8 empty] | SP-Special | All others that are not for compliance (construction)
9. | Deliver sample to laboratory as soon as possible. Keep the water sample cool by putting on ice; refrigerate if delivery is not within several hours.
NOTE: Maximum sample holding time between time of sampling and time of analysis is 30 hours.
Samples may be received between 8 a.m. and 5:00 p.m., Monday through Friday and within 24 hours of collection.

## A
Inboden Environmental Services, Inc. | [12 empty] | LAB SAMPLE #: DW
5790 Main Street Phone: (540) 477-3300
Mt. Jackson, VA 22842 Fax: (540) 477-3360
CHAIN OF CUSTODY & SAMPLE INFORMATION SHEET
Client: |  | Town of Timberville |  |  | PWSID: |  | 2165720 | Contact Person: | Submit Report to: |  |  | Beverly Litten
Address: |  |  | 392 South Main Street |  |  |  |  | Submit Report to: | Bill to: | Town of Timberville
City: |  | Timberville |  | State: | VA | Zip: | 22853 | Submit Bill to: | Tax Map # :
Project ID: |  |  |  |  | Phone: | 540-896-7058 |  | P.O. #: | Permit #:
SAMPLE INFORMATION | [9 empty] | ANALYSIS REQUESTED
| LOCATION |  |  | SAMPLER | SAMPLE | SAMPLE | CHLORINE |  | *SAMPLE
Example-Lot #,faucet,sink,house # |  |  |  | INITIALS | DATE | TIME | RESIDUAL |  | TYPE
Total Coliform P/A MPN
* P = Private; D = Regular Distribution; R = Repeat Sample; Q = Raw Sample; S = Special Sample; X = Resample.
SAMPLE RELINQUISHED BY |  |  |  | DATE | TIME | SAMPLE RECEIVED BY |  |  |  | DATE | TIME | MEANS OF DELIVERY
COMMENTS: | [8 empty] | CLIENT NOTIFIED ON:________________ ______
[12 empty] | Date & Time |  | Initials
FOR LABORATORY USE ONLY: |  |  |  |  | ANALYSIS: ( ) MF ( ) COLILERT-18 ( ) CL-18 MPN | [7 empty] | ( ) UNSAT ________
INIT._______ ANALYSIS START DATE:______________ TIME_________AM / PM
RESULTS: |  |  | ( ) ABSENT |  | ( ) POSITIVE WITHOUT FECAL / E.C. | [6 empty] | MPN : _______________
[13 empty] | T. C. | / E.C.
[5 empty] | ( ) POSITIVE WITH FECAL / E.C. | [6 empty] | UNSAT:______________
COMPLETION DATE:________________ INIT.______ | [8 empty] | TIME:_________AM / PM